## Slide 1: Two Tank Liquid Level System
Presented by:
Ghaylen Triki
Nouha Karoui
Mehdi Ismail Ben Salah
Hazar Boughanmi

## Slide 2: Team Presentation
Hazar Boughanmi
Ghaylen Triki
Nouha Karoui
Mehdi Ismail Ben Salah

## Slide 3: Table of Contents
01
Introduction
Motivation goal and presentation of the benchmark
04
System Regulation
05
Software Study
03
Experimental study
Hardware and software conception
02
Theoretical study
Mathematical Model
Technical Sales
06
07
Conclusion & Perspective

## Slide 4: 1. Introduction

## Slide 5: Problematic
Liquid in general is commonly used in home and industry applications. But sometimes liquid can be unstable (liquid overflow, cavitation, ect..) and do damages to the system.
So what control strategies can we use to avoid that ?

## Slide 6: Why Two tank liquid level system ?
It is a simple benchmark made for liquid control
Level control is a one of the most basic control strategies in most process plants such as waste water treatment, chemical, petrochemical, pharmaceutical, food, beverages, etc..
Used to ensure that the entire system can run safely, smoothly and profitably.

## Slide 8: Benchmark Presentation

## Slide 9: 2. Theoretical Study

## Slide 10: Parameters for the Coupled-Tank System
Description | Symbol | Values | Unit
Outlet area of tank 1 | a1 | 0.785 | cm²
Outlet area of tank 2 | a2 | 0.3925 | cm²
Cross-sectional area of tanks | A | 113.04 | cm²
Gravitational constant | g | 9.8 | m/sec
Constant relation the control voltage with the water flow from the pump | ƞ | 0.1194 | -
Water level in tank 1 | h1 | - | cm
Water level in tank 2 | h2 | - | cm
Voltage of the pump | u | - | V

## Slide 11: The Dynamic Equations

## Slide 12
The Nonlinear Mathematical Model

## Slide 13
To quantify this control objective, we define the liquid level tracking error for the two tanks as follows:
Given a desired, constant, liquid level for Tank 2, denoted as , design a control input such that
Using the equations (1.6),(1.7)
Control Objectives

## Slide 14
The Linearized Error System Model
The Transfer Function Model

## Slide 15: 3. Experimental Study

## Slide 16: Software Design

## Slide 17: Components
Microcontrollers
STM32 Nucleo Arduino Uno Arduino Mega
Sensors
Pumps
Batteries
Magnetic Float Level Switches
Magnetic Float Level Transmitters
Ultrasonic Level Transmitters
Radar or Microwave Level Transmitters
Lipo 4S 12V
Lead acid battery 12V 7Ah
Electric battery

## Slide 18: Chosen Components
Arduino Uno
Open Source,Cheap,LINX Supported Device
Ultrasonic Sensor
Accurate Results,Easy to use ,Low Price
Pump DC365
Operating voltage: DC 12V Maximum flow: 2-3 l/m
Motor Driver Controller Board
Max Intensity : 2A
Max Voltage : 48V DC
Lipo
Voltage : 12V
Number of cells : 4S

## Slide 19: Electrical Wiring

## Slide 20: 4. System Regulation

## Slide 21: PID, fuzzy or LQR ?

## Slide 22: The Characteristics of PID Controllers
 | Too Big | Too Small
Kp | The system may start oscillating | The system can have less sensitive and don’t respond
Ti | It responds to pass values so it can overshoot the SetPoint. | 
Td | If the system is exposed to high levels of interferences the system can become unstable | It slows the rate of change of the controller output

## Slide 23: 5. Software Study

## Slide 24: Flowchart

## Slide 26: Block Diagram

## Slide 29: Front panel

## Slide 30: ThingSpeak

## Slide 31: 6. Technical sales study

## Slide 32
Components | Costs
Pump | 28.5 dt
Arduino Uno | 40 dt
Ultrasonic Level Transmitters | 11 dt
Pipe | 2.5 dt
12 V Battery | 35 dt
Motor Driver Controller Board L298N | 15 dt
2 Tanks | 4.5 dt
TOTAL | 136.5 dt
Technical Sales

## Slide 33: 7. Conclusion & Perspectives

## Slide 34: Conclusion
The Two tanks benchmark is a nonlinear system used in different areas : to ensure
that the entire system can run safely, smoothly and profitably.
But how can we improve it?
Theoretical idea
Mechanical conception
Electrical wiring
Labview Programing
IOT addition

## Slide 35: Perspectives
Using Fuzzy algorithm instead of pid to control the benchmark
Using protocol i2c to work with lcd instead of cabling lcd directly to the arduino
Using the site Thing speak to visualize the output charts instead of labview
Work on how to control the two tanks in a wireless way using iot and esp32 instead of arduino

## Slide 36: Thanks!
Let’s hear your
questions!